## Sheet1
Instrument number: 75
Note taker: |  | Troy Yesnik
Table 1. Gravity measurements 12 Sept 2022, SW stairwell of Geology building
Flag (B-base, F-field, R-repeat) | Station | Observer | Year | Month | Day | Hour | Minute | Northing | Easting | Height | Dial reading | Calibrated Gravity (mGal) | Drift-corrected gravity (mGal) | Absolute gravity (mGal)
B | 0 | Graham | 22 | 9 | 12 | 3 | 28 | 5986 | 2559 | 600 | 4573.17
B | 0 | Troy | 22 | 9 | 12 | 3 | 31 | 5986 | 2559 | 600 | 4573.04
F | 1 | Martin | 22 | 9 | 12 | 3 | 37 | 5986 | 2558 | 602.1 | 4572.59
F | 2 | ADE | 22 | 9 | 12 | 3 | 47 | 5986 | 2557 | 604.06 | 4572.12
F | 3 | Graham | 22 | 9 | 12 | 3 | 54 | 5986 | 2556 | 606.01 | 4571.66
F | 4 | Troy | 22 | 9 | 12 | 3 | 59 | 5986 | 2555 | 607.97 | 4571.2
F | 5 | Martin | 22 | 9 | 12 | 4 | 4 | 5986 | 2554 | 609.93 | 4570.57
F | 6 | Graham | 22 | 9 | 12 | 4 | 24 | 5986 | 2553 | 611.88 | 4570.62
F | 7 | Troy | 22 | 9 | 12 | 4 | 28 | 5986 | 2552 | 613.84 | 4569.95
F | 8 | Ade | 22 | 9 | 12 | 4 | 34 | 5986 | 2551 | 615.79 | 4569.55
B | 0 | Martin | 22 | 9 | 12 | 4 | 19 | 5986 | 2559 | 600 | 4573.14
F | 9 | Martin | 22 | 9 | 12 | 4 | 39 | 5986 | 2550 | 617.74 | 4570.27
R | 9 | Troy | 22 | 9 | 12 | 4 | 43 | 5986 | 2550 | 617.74 | 4570.3
R | 8 | Martin | 22 | 9 | 12 | 4 | 47 | 5986 | 2551 | 615.79 | 4570.99
R | 7 | Ade | 22 | 9 | 12 | 4 | 54 | 5986 | 2552 | 613.84 | 4571.54
B | 0 | Graham | 22 | 9 | 12 | 5 | 11 | 5986 | 2559 | 600 | 4575.01
1) Start with a couple readings at base station
2) Repeat base station after each hour
3) End the day of survey at the base station
4) Before each repeated base station reading, take a reading of absolute gravity (Table 2)
Table 2. Readings at absolute-gravity station
Observer | Year | Month | Day | Hour | Minute | Dial reading | Gravity (mGal) | Drift-corrected gravity (mGal) | Average drift corrected gravity (mGal) | Average drift corrected gravity at Base station (mGal) | Dgabs (mGal)
Tutorial | 22 | 9 | 12 | 3 | 5 | 4572.54
ADE | 22 | 9 | 12 | 3 | 20 | 4572.65 |  |  |  | One row here!
ADE | 22 | 9 | 12 | 4 | 11 | 4572.74
Troy | 22 | 9 | 12 | 5 | 3 | 4574.61